## summary
S H E R A N H E N R Y A S S O C I A T E S
CHARTERED ARCHITECTS / DESIGNERS
25/3, LAURIES ROAD, COLOMBO 4
TEL : 2591277 FAX : 5336694
E-MAIL : chrysant@slt.lk
PROPOSED INTERIOR FOR IWMI CRECHE
GRAND SUMMARY
| CIVIL & INTERIOR WORK | 0
| SUB TOTAL (01) | 0 | 92224051.2424 | -92224051.2424
DISCOUNT IF ANY
| SUB TOTAL (02) | 0
| ADD: 10% CONTINGENCIES | 0
| SUB TOTAL (03) | 0
| TOTAL PROJECT COST WITHOUT VAT (WITH CONTINGENCIES) | 0

## BOQ_Civil & Interior
S H E R A N H E N R Y A S S O C I A T E S
CHARTERED ARCHITECTS / DESIGNERS
25/3, LAURIES ROAD, COLOMBO 4
TEL : 2591277 FAX : 5336694
E-MAIL : chrysant@slt.lk
PROPOSED INTERIOR FOR IWMI CRECHE– CIVIL WORK
ITEM NO | DESCRIPTION | UNIT | QTY | RATE (Rs.) | AMOUNT (Rs.)
SECTION 01 - PRELIMINARIES
SECTION: 01 - PRELIMINARIES / GENERAL CONDITIONS
Project Particulars
Name of the Project:
PROPOSED INTERIOR FOR IWMI CRECHE– CIVIL WORK
Nature of work
The proposed work comprises the renovating interior works of the above building .
Location of site
INTERNATIONAL WATER MANAGEMENT INSTITUTE, BATTARAMULLA
Name of Employer
INTERNATIONAL WATER MANAGEMENT INSTITUTE
Name of Consultants
SHERAN HENRY ASSOCIATES
CHARTERED ARCHITECTS / DESIGNERS
25/3,
LAURIES ROAD,
COLOMBO 4
Other Documents forming part of the Bills of Quantities
The documents used to prepare the "Bills of Quantities"are as follows;
Architectural Drawings
Structural Drawings
Plumbing
Electrical
Schedule of finishes
| The Bills of Quantities comprises the following sections | Note
SECTION 01 - PRELIMINARIES
SECTION 02 - DEMOLITION WORK
SECTION 03 - GROUND WORK
SECTION 04 - CONCRETE WORK
SECTION 05 - MASONRY WORK
SECTION 06- DOORS AND WINDOWS
SECTION 07- METAL WORK, CEILINGS AND PARTITIONS
SECTION 08 - SURFACE FINISHES
SECTION 09 - PLUMBING
SECTION 10 – MISSELENIOUS WORK
SECTION 01 - PRELIMINARIES
| The attention of the Tenderer is drawn to the use of Bill of Quantities, Drawings, Conditions of Contract, Tendering data and contract data, Specifications and any other particulars related to this of the Tender. It is the Tenderer's responsibility to see that his price includes for complying with all the requirements of the conditions of contract and other documents whether specifically referred to in this Bill of Quantities or not. | Note
| The Tenderer is advised to visit the site of the proposed work, as it is his responsibility to ascertain the Conditions, governing access to the site, the external working space, storage area, etc. | Note
| All temporary works shall be dismantled and cleared away from the site on completion of the work. | Note
| No work in any trade shall be carried out in such a manner as to cause any nuisance to adjacent owners or the public. | Note
| Mechanical plant and equipment which emits excessive noise, water, smoke, fumes, obnoxious liquids, gases etc., will not be allowed to be used on the site, without the prior approval from the Employer and the Consultant. | Note
| The Consultant has the final decision as and when he deems it necessary for the Contractor to take precautions, maintain or repair such plant and equipment or order their removal from the site. | Note
| The contractor shall be responsible for any loss or damage to the works, existing structures, adjoining structures and unfixed materials. | Note
| Care shall be taken to ensure that the rights of all adjoining and adjacent owners, tenants and the public are fully respected. Immediately upon receipt of any form of complaint from adjoining property owners or any Authorities, the Contractor shall notify the Consultant , the nature of such complaint and the corrective measures he intends to employ. | Note
| Where there is a duplication of preliminary items in this trade the Tenderer is requested to price the item more detailed in description. | Note
| Rate for all items shall include for providing any other work that the tenderer deems necessary for the proper execution and completion of the works ,but not listed below. Tenderer shall insert below the details of such work with costs. (If space provided is insufficient attach separate list) | Note
| All works should be coordinate with consultant and other contractors | Note
1.1 | Allow for providing and maintain adequate provisions to reduce the amount of vibration, dust, pollution and noise from the site and shall be the contractor's responsibility for any complaints, damages or claims in connection with the works. The contractor shall maintain noise and vibration levels acceptable to the environmental and other authorities and shall maintain a monitoring procedures acceptable to the Consultant including necessary changes to the method of working time to time to be within the acceptable noise and vibration level. | Item | 1 |  | 0
0
1.2 | Allow for all items shall include for insurance of work, Machinery & Equipment, Plant, Materials, third party person & property and Employer's personnel & property at site as per the Contract. | Item | 1 |  | 0
0
1.3 | Allow for all items shall include for workers compensation insurance against accidents and injury to contractor's personnel as per the Contract. | Item | 1 |  | 0
0
| Contractor's Facilities |  |  |  | 0
0
1.4 | Allow for constructing, maintaining, dismantling and removal on completion of the works, a temporary site office ,workshop and stores for perishable materials of adequate size and other facilities for the contractor's site management staff in accordance with the plans prepared by the contractor and concurred by the Architect | Item | 1 |  | 0
0
1.5 | Allow for all items shall include for setting out of works in accordance with drawing and other written information given by the Architect. | Item | 1 |  | 0
0
| Quality, Standards and Progress |  |  |  | 0
0
1.6 | Allow for all items shall include for all cost in connection with preparing samples for testing, making arrangements for testing of materials, goods etc., as stipulated in the specification, obtaining test reports and submitting the same to the Architect. | Item | 1 |  | 0
0
1.7 | Allow for items shall include for provision of shop drawings, bar schedules etc. for Architect's approval. | Item | 1 |  | 0
0
1.8 | Allow for items shall include maintenance manual report withing two weeks from completion ,should include provision of 2 sets of (hard copies and soft copies) as-built drawings of all services, specifications,test reports,warranty certificates etc. (Report should submit to Architect's for approval.) | Item | 1 |  | 0
0
1.9 | Allow for all items shall include for providing all necessary safety measures adheraing to the safety Standed spcified by the Port Authority. (helmets,Shoes,dust mask,gloves goggles etc.) to workmen at site conforming to the latest industrial safety regulation and as directed by the Architect. | Item | 1 |  | 0
0
1.1 | Deep cleaning post completion | Item | 1 |  | 0
0
1.11 | Electricity and water to be supplied by client only for the construction work | Note |  |  | 0
0
1.12 | Allow for Temporary material such as wire light fittings plug base,horses etc. | Item | 1 |  | 0
0
| TOTAL OF SECTION 01 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 02 - DEMOLITION WORK
| The Tenderer are requested to refer Bills of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract and other relevant documents prior to pricing of this section of work. | Note
| The Tenderer is advised to visit the site and inspect the type and extent of demolition work to be carried out prior to pricing these items. It is the Tenderer's responsibility to do all demolishing, dismantling and removing etc., with minimum damage to any existing work that is to remain. | Note
| Rates for demolishing shall include for carrying out all work with equipment suitable to the nature of this work with out any damage to the existing structure and neighboring structures . And demolishing work to avoid damages to workers, outsiders, existing services, fittings and equipment. existing structure, adjoining properties, public services and to minimize dust, noise and disturbances to others etc., | Note
| The Contractor shall not carry out any demolition work without reconfirmation even though the such items have already been included in the Bill of Quantities and or demolition to demarcated at the location by the Contractor and approval to be obtained prior to commencement of such demolition work. | Note
| Allow provisions to protect from dust and sound according to the regulation to the neighboring residence and without disturbing other offices in and around the premises. | Note
| Rate to include for disposal of debris away from site as directed . | Note
| All reusable materials should be to hand over to client with a check list , or allowed to taken by the Contractor with prior approval from The Client. | Note
| If any other demolition work noticed in contractors site visit it should be inform to architect and rate of that items should be included to BOQ demolition items | Note
2.1 | Disconnecting and sealing existing services such as electrical ,plumbing, drainage, telephone, data cables etc. and cover the air terminals carefully and as per the architects instruction.(Should give a list to the client and a rebate for removed all existing materials ) | Item | 1 |  | 0
2.2 | Removing existing Floor finish (carpet) without damaging to existing structure up to existing slab level and cart away debris and reusable materials should be hand over to relevant parties as per the architects instruction. | m2 | 21.7612 |  | 0
2.3 | Removing existing Floor finish with skirting (tile) without damaging to existing structure up to existing slab level and cart away debris and reusable materials should be hand over to relevant parties as per the architects instruction | m2 | 21.7612 |  | 0
2.4 | Removing existing ceiling with air louvers and frame work without damaging to existing service lines(AC,Smoke detectors etc.) and cart away debris ,reusable materials should be hand over to relevant parties as per the architects instruction. | m2 | 150 |  | 0
0
2.5 | Removing carefully existing Internal full height Gypsum partitions,Glass partition with doors ,windows and all fixing accessories and cart away debris , reusable materials should be hand over to relevant parties as per the architects instruction.. (The reusable doors should be removed carefully and keep in safe place to re use) | m2 | 183.5274 |  | 0
0
2.6 | Removing carefully existing Glass partition with doors and windows with all fixing accessories and cart away debris , reusable materials should be hand over to relevant parties as per the architects instruction.. (The reusable doors should be removed carefully and keep in safe place to re use) | m2 | 126.6899 |  | 0
2.7 | Demolishing Exiting wall without damaging Existing structure and cart away debris off site as per the architect instruction.- Cafeteria fire door opening ,kitchen door 2side wall ,TV room middle wall | m2 | 51.554 |  | 0
0
2.8 | Removing existing 150mm ledge without damaging to existing structure cart away debris and reusable materials off site.- reusable materials should be hand over to relevant parties as per the architects instruction.. | m | 21.504 |  | 0
0
2.9 | Prepare wall opening (size 900x1200mm – 2 nr , size 1000x1200mm – 1nr ) , without damaging to existing structure and cart away debris and reusable materials off site. Reusable materials should be hand over to relevant parties as per the architects instruction. Rate shall include for prepare revals | Item | 1 |  | 0
0
2.1 | Demolishing Exiting corridor without damaging Existing structure and cart away debris off site as per the architect instruction. | m2 | 40 |  | 0
0
2.11 | Removing Exiting sanitary fittings & showers with all accessories without damaging Existing structure and cart away debris off site and Reusable materials should be hand over to relevant parties as per the architects instruction.. | Item | 1 |  | 0
| WC – 1nos |  |  |  | 0
| Showers – 1 |  |  |  | 0
| Wash basin – 1Nos |  |  |  | 0
0
2.12 | Removing carefully existing pergolas without damaging to existing structure and cart away debris and reusable materials off site. Reusable materials should be hand over to relevant parties as per the architects instruction | Item | 1 |  | 0
| TOTAL OF SECTION 02 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 03 – GROUND WORK
| The Tenderer are requested to refer Bills of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract and other relevant documents prior to pricing of this section of work. | Note
| Keeping all excavations free from storm or percolating water as required or directed to keep excavations dry etc. | Note
| Anti Termite Treatment should be done by Specialized contractor approved by the client / engineer. A minimum of 10 year joint warranted should be provided by the Main Contractor & Specialized Contractor. | Note
Planking and strutting and de-watering if required.
3.1 | Excavation in trenches foundations,plinth beams in any soil except rock which requires blasting for removal, depth not exceeding 2'-0", part return back filled and surplus disposed away from premises. | m3 |  |  | RATE ONLY
3.2 | Anti-termite treatment which shall cover excavated trenches,pits,earth filling,etc. (Approx. 135 m2) | Item |  |  | RATE ONLY
3.3 | DPM for floor area using 1000gauge polythene | m2 | 0 |  | RATE ONLY
3.4 | DPC using 1:3 cement sand motor including applying two coats of hot bitumen | m |  |  | RATE ONLY
FILLING
IMPORTED EARTH FILLING
3.5 | Filling under floors with gravel or approved quality imported filling material. Spreading, watering and well ramming in 150mm Layers in Building areas. | m3 | 0 |  | RATE ONLY
| TOTAL OF SECTION 03 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 04 - CONCRETE WORK
Note:
| The Tenderer are requested to refer General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract, Tendering data / Contract data and all other relevant documents prior to pricing of the following items | Note
| Rate for concrete items to include for mixing, hoisting, placing in position, compacting with mechanical vibrator and for curing. | Note
| Rates for concrete shall include all necessary equipments which are required for concreting. | Note
| Rate shall include for providing necessary fixing arrangement to existing structure as per Architect's instructions. | Note
| Rate of concrete for floor slabs shall include for hand trowel finish to slab surfaces wherever specified to the satisfaction of the Consultant. | Note
Reinforced Concrete - Grade G 25
Up to DPC level
4.1 | 50mm Thick lean concrete under Foundation & plinth beam | m2 |  |  | RATE ONLY
4.2 | In plinth beams | m3 |  |  | RATE ONLY
4.3 | 75mm thick Floor concrete for floor area including A143 mesh | m3 | 40 |  | 0
Reinforcement
Tor steel mild steel rods to be cut to sizes bent to shape and laid in position with 1:2 cement and sand spacer blocks. Rate to include for cut, waste and laps and 18 BWG GI binding wire Rate to include steel chairs Characteristic strength of reinforcement shall be;
Tor Steel fy = 460 N/mm2
Mild Steel = 250 N/mm2
Up to DPC level
4.4 | In Plinth beam | kg |  |  | RATE ONLY
Form work
Up to DPC level
4.5 | To sides of plinth beams | m2 |  |  | RATE ONLY
* | Lintol – Rate shall include for concrete work including necessary reinforcement and foam work.
4.6 | Lintols 6"x6" | m |  |  | RATE ONLY
4.7 | Lintols 1'x6" | m |  |  | RATE ONLY
4.8 | Preparing (3285+1640) x 600 x 900 size L shaped Pantry unit top with necessary form work and reinforcement as per the architects instruction and detail drawing. | Item | 1 |  | 0
4.9 | Preparing 600 x 500 x 850 mm size wash basin counter at wash room with necessary form work and reinforcement as per the architects instruction and detail drawing. | Item | 3 |  | 0
4.1 | Preparing 1000 x 600 x 850 mm size diaper changing table at wash room with necessary form work and reinforcement as per the architects instruction and detail drawing. | Item | 1 |  | 0
4.11 | Preparing 2145 x 500 x 600 mm size Hand Washing area Top with necessary form work and reinforcement as per the architects instruction and detail drawing. | Item | 1 |  | 0
| TOTAL OF SECTION 04 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 05 - MASONRY WORK
| The Tenderer are requested to refer Bills of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract, Tendering data/ Contract data and other relevant documents prior to pricing of this section of work. | Note
| Rates shall include for preparation of surfaces of floor slab, columns and wall surfaces for proper bonding and for bonding to existing wall as per architects instruction | Note
Rates shall include for:
a. R.C. stiffener beams/columns
b. Movement joints.
| c. Anchoring between R.C. structure and Steel Structures ends and tops at roof level as per detail. | Note
Up to DPC level
5.1 | Random rubble masonry in 1:5 cement mortar mix in Wall foundations | m3 |  |  | Rate Only
Note:
Rate shall include for stiffener columns and beams
5.2 | 112.5 mm thick brick wall in approved quality in cement sand 1:5 mix. | m2 | 50.8594 |  | Rate Only
5.3 | 225 mm thick block wall in approved quality in cement sand 1:5 mix. | m2 | 58.8115 |  | 0
0
5.4 | 112.5 mm thick exposed brick wall in approved quality in cement sand 1:5 mix. Rate shall include for colorless laquer coat over the brick wall. | m2 |  |  | Rate Only
0
| TOTAL OF SECTION 05 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 06 – WATER PROOFING WORK
| The Tenderer are requested to refer Bills of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract, Tendering data/ contract data and other relevant documents prior to pricing of this section of work. | Note
| Rate shall include for leveling screeds, backings as recommended by manufacturer | Note
| Rate shall include for all internal and external angles, angle fillets, arises, edges, laps & intersections on work to cross falls. | Note
| Prepare and apply "conflour" or equivalent water proofing as directed. | Note
a | Water proofing work to Toilet area as per the detail drawings and Architects instructions.
6.1 | Floor | m2 | #N/A |  | Rate only
6.2 | Wall
| Shower area upto 6ft | m2 | 4.3376 |  | 0
| Other area upto 1ft | m2 | 5.6873 |  | 0
| TOTAL OF SECTION 06 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 07- DOORS AND WINDOWS
ALUMINIUM DOOR AND WINDOWS
| Tenderer are requested to refer Bill of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of contract, Tendering data, Contract data and other relevant documents prior to pricing of this section of work. | Note
| All doors,windows and carpentry work should be complete in accordance with the architect's detail drawings,specification etc with high quality finish | Note
| All fixing accessories and ironmongery should be high quality. | Note
All aluminium frames & aluminium works should be powder coated
| Rate shall include necessary fixing accessories and ironmongery as specified in the drawings and schedule | Note
| Rate shall include for painting of doors and windows as per architect's instruction | Note
DOORS
7.1 | Supply and Installation D1 – 900 X 2100 mm approved type alumium outer framed 10mm thk tempered glass single sash door with 100x50mm black powder coated aluminum box bar frame Including all necessary ironmongery as per the architects instruction , Finishes need to be approved by architect. Rate shall include for sand blast sticker for one side. | Nr | 1 |  | 0
7.2 | Supply and Installation D2 – 900 X 2100mm Single sash 25mmx 100mm black powder coated framed lockable door made out of composite Cladding board both side with 150x600mm 5mm thk clear glass vision panel Including all necessary ironmongery as per the architects instruction and detail drawings. finishes need to be approved by architect. | Nr | 4 |  | 0
7.3 | Supply and Installation D3 – 1050 X 2100 mm 10mm thk tempered glass single sash door Including all necessary ironmongery as per the architects instruction , Finishes need to be approved by architect. Rate shall include for sand blast sticker for one side. | Nr | 1 |  | 0
WINDOWS
7.4 | Supply and Installation W1 – 1000 x 1200mm Gray matt powder coated aluminium framed two sash window with 5mm thk clear glass Including all necessary ironmongery as per the architects instruction , Finishes need to be approved by architect. Rate shall include for metal grill | Nr | 1 |  | 0
7.5 | Supply and Installation W2 – 900 x 1200mm Natural anodized bronze aluminium framed single sash window with 5mm thk clear glass Including all necessary ironmongery as per the architects instruction , Finishes need to be approved by architect. Rate shall include for metal grill | Nr | 3 |  | 0
| TOTAL OF SECTION 07 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 08 - METAL WORK CEILING AND PARTTION
| Tenderers are requested to refer Bill of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of contract, Tendering data, Contract data and other relevant documents prior to pricing of this section of work. | Note
| Rate for all Steel work shall include for Cutting,welding ,jointing and fixing cleats or Base plates. | Note
| Rate for all Steel work shall include for Base plates,rag bolts ,cleats , Haunches and other fixing and connecting arrangements. | Note
| Rate for all Steel work shall include for all sag rods ,wind bracing or other bracings and tie rods. | Note
| Before fixing to the Structure All steel members to be approved by the engineer . | Note
| Rate for all items shall include for Apply of Two coats of anti corrosive paint and two coats of Enamel paint | Note
| Colour and Quality of Enamel paint Should be approved by the Architect. | Note
Partitions
8.1 | Supply and fixing of 12mm thk tempered glass curtain wall partition with 50x75mm black aluminium frame work including necessary fixing detail. as per the detail drawing and architect instruction. Rate shall include for Graphic / sand blast sticker paste for single side up to 3000mm height | m2 | 32.864 |  | 0
8.2 | Supply and fixing of 100mm thk double side gypsum board partition with internal box bar frame work and 50mm single layer of rock wool acoustic insulation in between gypsum boards as per the detail drawing and architect instruction. Rate shall include for necessary fixing detail and paint with master pallet paint | m2 | 47.0085 |  | 0
8.3 | Supply and fixing of 100mm thk double side gypsum board partition with 12mm thk 1850 x 1200mm size tempered glass panel, internal box bar frame work , edging strips and 50mm single layer of rock wool acoustic insulation in between gypsum boards as per the detail drawing and architect instruction. Rate shall include for necessary fixing detail and paint with master pallet paint | m2 | 14.1803 |  | 0
8.4 | Supply and fixing of 12mm thk tempered glass partition work including necessary fixing detail. as per the detail drawing and architect instruction. Rate shall include for sand blast sticker paste for single side up to 3500mm height | m2 | 72.335 |  | 0
8.5 | Supplying and fixing of 50 x 100mm Pine wood partition at regular intervals this to be support with horizontal steel bar and every 2' flange to the floor with 9''x9'' flange fixed to the floor as per the details drawings and architect's instruction. rate shall include paint and for pine wood partition door | m | 19.32 |  | 0
(h- 550mm,600mm,650mm,750mm,845mm,875mm)
8.6 | Supplying and fixing of 100 x100 mm pine wood separators fixed to a 200x200 mm pine wood base .all pinewood to be well seasoned & boron treated. The boron treatment and seasoning to have a 10 year warranty this to be complete with 1'' pine wood Elephant shape with horizontal pine wood supporters fixed to the floor with 4mm thk metal with the top edge half circle rounded as per the details drawings and architect's instruction. | m | 1.1545 |  | 0
8.7 | Supplying and fixing of out door fence made out of 75 mm thk Timber decking material made out of rubber pulp from jat holdings , fixed to a GI box section hot dip galvanized frame work which fitted to the ground with The vertical supports to the ground to be 2' deep and embedded in a 12"x12" block of concrete as per the details drawings and architect's instruction. Rate shall include for animal shapes made out of 75mm thk Timber decking material made out of rubber pulp from jat holdings | m |  |  | RATE ONLY
8.8 | Supplying and fixing of approved colour stain Marine treated plywood Tree and branches with GI frame work as per the details drawings and architect's instruction. Rate Shall include for tree leaves as per the details | Nos |  |  | RATE ONLY
8.9 | Supplying and fixing of Cement board to be fixed to the existing columns with role plugs to cover the columns , per the details drawings and architect's instruction. | Nos | 3 |  | 0
8.1 | Supplying and fixing of Toilet cubicles with SS legs from JC Enterprises(gray color) | m2 | 3.8903 |  | 0
Ceiling
8.11 | Existing Pergolas to be paint with mater pallet paint to approved colour as per the details drawings and architect's instruction.(L – 4.7m) | Nos |  |  | RATE ONLY
8.12 | Supplying and fixing of 6mm polycarbonate roof on galvanized steel frame work ,frame work to be 50mm thk approved colour spray painted …..........and supported from the soffit using ¼'' dia SS rods,thread bars and steel anchor bolts covered with SS tubes, | m2 | 105 |  | 0
8.13 | Supplying and fixing Zn/Al gutter | m | 20 |  | 0
8.14 | Supplying and fixing Down Pipes | m | 12.3 |  | 0
8.15 | Supplying and fixing 9'' Zn AL flashing with approved external silicon sealant | m | 20 |  | 0
18.16 | Supplying and fixing of movable shades for polycarbonate roof as per the details drawings and architect's instruction | Item |  |  | RATE ONLY
| TOTAL SECTION 08 CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 09 -FLOOR , WALL AND CEILING FINISHES
FLOOR FINISHES
| Tenderer are requested to refer Bill of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of contract, Tendering data, Contract data and other relevant documents prior to pricing of this section of work. | Note
| Before laying of All tiles color and quality of tiles, grout and adhesive should be approved by the Architect. | Note
| Rate shall include for prepare and leveling of bedding surface, cutting and fixing of tiles on tile bed. | Note
| Rate shall include for tile bed and approved quality grout ,adhesive etc. | Note
| Cement Floor Finish should be approved by the Architect. | Note
Reveal will not be measured separately
9.1 | Supply & Laying of Gerfloor on existing tile floor with side edging as per the architects instruction and detail drawings
| COLOUR 01- 6146 Coral Transflex multi-use 5.0 | m2 | 38 |  | 0
| COLOUR 02 - 6146 Coral Transflex multi-use 5.0 | m2 | 14 |  | 0
| COLOUR 03 - 6535 Lawn Transflex multi-use 5.0 | m2 | 134 |  | 0
| COLOUR 04 - 6211 Gold Transflex multi-use 5.0 | m2 | 142 |  | 0
9.2 | Supplying and installation 2' x 2' homogenous floor tile with all the necessary materials, rate shall include necessary bed. As per the architects instruction and detail drawings-at Pantry and Wash room area(Tile code Rocell Lagoon gray Tile rate Rs 2122.00 per tile) | m2 | 21.7612 |  | 0
9.3 | Supplying and filling Sand with 3'' mass concrete with ''V'' Groove and construction joint between the existing floor and the new floor . As per the architects instruction and detail drawings-at office room area(Tile code Rocell Lagoon gray Tile rate Rs 2122.00 per tile) | m2 | 63.7221 |  | 0
9.4 | 50mm height Skirting as per the architects instruction and detail drawings
* | Tile skirting | m | 11.046 |  | 0
* | Gerfloor Skirting | m | 83.83 |  | 0
9.5 | Supplying and installation 2' x 2' tile with all the necessary materials, rate shall include necessary bed. As per the architects instruction and detail drawings-at Counter tops (Tile code Rocell Tile rate Rs 2500.00 per tile) | m2 | 10 |  | 0
WALL FINISHES
Before laying of All tiles color and quality of tiles, grout and adhesive should be approved by the Architect.
Reveal will not be measured separately
WALL TILES
9.6 | Supplying and installation 1' x 2' wall tile with all the necessary materials, rate shall include necessary bed. As per the architects instruction and detail drawings-wash room wall (Tile rate Rs.958.00 per tile) | m2 | 96.348 |  | 0
PLASTERING
| Rates shall include for door and window reveals, plaster bands, tapered work, recesses, patterned work and the like. No additional payment shall be made. | Note
9.7 | 16mm thk. 1:5 mix cement and sand plaster to walls internally finished smoothly including forming reveals | m2 | 109.6709 |  | 0
9.8 | 16mm thk. 1:5 mix cement and sand plaster to walls externally finished roughly including forming reveals | m2 | 58.8115 |  | 0
9.9 | 16mm thk. 1:5 mix cement and sand plaster to soffit Internally and externally finished roughly including forming reveals | m2 |  |  | RATE ONLY
PAINTING
| Before Painting of wall paint color and quality ( Dulux or Equivalent ) approved by the Architect. | Note
| Rates shall include for preparation of surfaces, cleaning down, smoothing, knotting, stopping etc., | Note
| Rates shall include for protection of floors, fittings and cleaning upon completion. | Note
9.9 | Prepare and apply 2 coats of master pallet emulsion paint on Internal Walls. Rate shall include for apply two coats of wall putty and one coats of wall filler and two coats of master pallet emulsion paint in approved color internally as per manufacturer's instructions, specifications and approval by the Consultant. | m2 | 243.4575 |  | 0
9.1 | Prepare surface and apply one coats of primer and two coats of weather shield emulsion paint to specified colour to walls externally | m2 | 56.011 |  | 0
9.11 | Prepare and apply 2 coats of master pallet emulsion paint on soffit internally . Rate shall include for apply two coats of wall putty and one coats of filler and two coats of master pallet emulsion paint in approved color internally as per manufacturer's instructions, specifications and approval by the Consultant. | m2 | 275 |  | 0
| GRAPHIC |  |  |  | 0
0
| Supplying and pasting of branding stickers on top of the water proofing soild PVC board partition this to be complete with proper edging/framing all around to have neat finish as per the architects instruction and detail drawings. | Note |  |  | 0
0
9.12 | Supplying and pasting of High quality Digital printing,laminating Graphic sticker with pasting on top of water proofing backing board (,backing board will be measured separately) and fixing to brick wall or partition wall as per the detail drawing and architects instruction. Rate shall include for editing cost of sticker (Printing material -MC JET) | Note |  |  | 0
0
1 | Graphic (3490 x 2500 mm) | Nos | 1 |  | 0
2 | Graphic (3490 x 3700 mm) | Nos | 1 |  | 0
3 | Graphic (4990 x 3700 mm ) | Nos | 1 |  | 0
4 | Graphic (4860 x 3700 mm ) | Nos |  |  | rATE ONLY
5 | Graphic (4535 x 3700 mm ) | Nos |  |  | rATE ONLY
6 | Graphic (10155 x 3700 mm ) | Nos |  |  | rATE ONLY
7 | Graphic (1395 x 2400 mm ) | Nos | 1 |  | 0
9.13 | Supplying and fixing of water proofing solid PVC board partition fixed to the wall for pasting the branding sticker as per the architects instruction and detail drawings
a. |  | m2 | 73.25 |  | 0
| TOTAL SECTION 09 CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 10 – PLUMBING & DRAINAGE WORK
PLUMBING WORK
| Tenderer are requested to refer Bill of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of contract, Tendering data, Contract data and other relevant documents prior to pricing of this section of work. | Note
| Rate shall include for Screws, Nails, Pipe Hooks, Saddles, Brackets, Sockets, Connection, Lagging, Bolt Nuts, Nipple Joints, Concrete Blocks and making of all holes, chasing etc., and making good in other trades such as plaster and paint. | Note
| Unless otherwise specified all pipes shall be for PVC. | Note
| Rate shall include for painting of all expose elbows, bends, tees, stop ends, junctions, reducers, inspection opening & all other similar fittings where necessary & for testing | Note
| The diameter of piping shall be the normal internal bore of the pipe. | Note
10.1 | Allow the provisional sum for Plumbing work including cold water ,Hot water , soil and vent pipes and ancillaries ,builders work etc .for wash rooms and pantry | Item | 1 |  | 0
Sanitary Fittings
| Rate shall include Supply and fixing for All Plumbing and sanitary appliances with necessary pipes, fittings & connecting to waste outlets, water supply & commissioning and required fixing material. | Note
| Rate shall include necessary Bottle trap, Angle valve, Flexible Hose, Flexible connectors as per detail by consultant. | Note
| Warranty 10 years | Note
10.2 | Water closet with Bidet shower with necessary fixing accessories | Nos | 3 |  | 0
( WC-Rocell. RB.SMB.03G119.01.10 – Prime cost 177,500.00 ,)
(Bidet Shower – Rocell RB.TGN.0FA200.AB.PA metal flex -Prime Cost 7,700.00)
10.3 | Mini Water closet with Bidet shower with necessary fixing accessories | Nos | 2 |  | 0
( WC-Rocell. RB.SMB.03G119.01.10 – Prime cost 177,500.00 ,)
(Bidet Shower – Rocell RB.TGN.0FA200.AB.PA metal flex -Prime Cost 7,700.00)
10.4 | Wash Basin with Tap and waste trapped with necessary fixing accessories | Nos | 3 |  | 0
WB – Rocell-RB.AZA.01G101.01.09 -Prime cost 50,600.00
Tap – Rocell – RB.TRC.0FA120.CB.PD - Prime cost 24,400.00
10.5 | Under Counter Wash Basin with Tap and waste trapped with necessary fixing accessories | Nos | 2 |  | 0
WB – Rocell-Zen Wash basin -Prime cost 19,050.00
Tap – Rocell RB.TRC.0FA410.CB.PA - Prime cost 13,550.00
10.6 | Supply & Fixing of Bib tap as per the Consultant Approved. (Prime cost, Bib Tap- Rs.2,100.00) Code -ROCELL - SD9A126 COLD WATER BIBTAP BRASS CHROMIUM PLATED RB. TRC. OFA 320.CB.PG_ | Nos |  |  | 0
10.7 | Supplying and fixing S/S shower head as per architects instruction. Rate Shall included for "mixer tap" with relevant Accessories as per the Consultant Approved. (Prime cost, Head Shower- Rs.15,000.00) Code -GROHE - 26088000 GROHE N TEMPESTA 100-iii head shower set , S/S RBTGH-OBS210.CB.PL / Mixer Tap - Rs. 9,000.00, Code - ROCELL -SD91227RB SINGLE LEVER BATH MIXER BRASS CHROMIUM PLATED. | Nr | 2 |  | 0
10.8 | Preparing of gully with Supply & Fixing of Approved S/S Gully cover as per the Consultant Approved. (Prime cost, Rs. 7,100.00) Code -TR3 SUN LINEAR FLOOR DRAIN SS304 RB.TRC.OPA400.SS.PF | Nos | 7 |  | 0
10.9 | Supply & Fixing S/S Wall mounted Tissue paper Holder as per the Consultant Approved. Prime cost 1,850.00 | Nr | 5 |  | 0
10.1 | Supplying and fixing of frame less round pencil edge mirror with necessary fixing details as per the as per the architects instructions and details drawing
a | 450 x 600mm | Nr | 3 |  | 0
b | 1000 x600 mm | Nr | 1 |  | 0
10.11 | Supply & Fixing Towel rail as per the Consultant Approved. Prime cost 6500.00 | Nr | 2 |  | 0
10.13 | Supply & Fixing Soap Holder as per the Consultant Approved. (Rocell RB.TGN.0BA020.CB.PK Prime cost 10,600.00) | Nr | 6 |  | 0
DRAINAGE WORK
| Tenderer are requested to refer Bill of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of contract, Tendering data, Contract data and other relevant documents prior to pricing of this section of work. | Note
| Rate for all piping include for pipe supports saddles, clips screws, nails, hardware, chasing of brick works, concrete works etc and making good the same in all trades and under ground piping all necessary excavation and backfilling, planking, shuttering concreting bedding and hatching etc. Dewatering and disposal of surplus material as directed. | Note
| Rate for all piping include for burying of ground or chasing wall or clipping to walls as required and for pipe fittings such as bends, tees, reducers and all specials. | Note
10.14 | Allow the provisional sum for all drainage related works including waste water disposal system , sewage system and drainage tank & Sokage pit ,as per architects instruction rate shall include for building work etc. | P.sum | 1 |  | 0
| TOTAL SECTION 09 CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 11– MISSELENIOUS WORK
11.1 | Sand Pit – Supplying and fixing of water based boron treated stained Mahogany wood natural tree trunk As per the architects instruction and detail drawings | Item |  |  | RATE ONLY
| TOTAL CARRIED TO SUMMARY OF SECTION 10 |  |  |  | RATE ONLY
GRAND SUMMARY
| SECTION 01 - PRELIMINARIES |  |  |  | 0
| SECTION 02 - DEMOLITION WORK |  |  |  | 0
| SECTION 03 - GROUND WORK |  |  |  | 0
| SECTION 04 - CONCRETE WORK |  |  |  | 0
| SECTION 05 - MASONRY WORK |  |  |  | 0
| SECTION 06 – WATER PROOFING WORK |  |  |  | 0
| SECTION 07- DOORS AND WINDOWS |  |  |  | 0
| SECTION 08 - METAL WORK CEILING AND PARTTION |  |  |  | 0
| SECTION 09 -FLOOR , WALL AND CEILING FINISHES |  |  |  | 0
| SECTION 10 – PLUMBING & DRAINAGE WORK |  |  |  | 0
| SECTION 11– MISSELENIOUS WORK |  |  |  | RATE ONLY
| SUB TOTAL (01) |  |  |  | 0
DISCOUNT IF ANY
| New Price SUB TOTAL(01a) |  |  |  | 0
| ADD: 10% CONTINGENCIES |  |  |  | 0
| SUB TOTAL (02) |  |  |  | 0
S VAT
| TOTAL CARRIED TO FORM OF BID |  |  |  | 0